Four-Faith DTU Firmware Upgrade Guide

The DTU upgrade steps:

1.Connect the DTU and PC with the shipped RS-232 or RS-485 cable , Don’t power the DTU.

- Run the upgrade tool

3. Press the “Open” button to open the serial port, press “Load” button to select the DTU upgrade firmware ,Press “DOWN” button for the coming upgrade process.

4.Power the DTU and begin upgrading.

- When“Download OK” prompted ,the upgrade process finished !